Plan Revision Memo

| Date: | June 9, 2022 |
| --- | --- |
| From: | Oscar Duran National Product Development - Architecture 720-977-3812 oscar.duran@mdch.com |
| Plan #’s: | D769 – Boston_D770 - Chicago |
| Subdivisions: | Colorado |
| Rev. No.: | D769-D770-007 |

The Following Revisions have been made:

Details has been revised to include an alternate Assembly for 2-1/2 Hour separation firewall system with (4) 1/2” M-bloc ekcel Moisture/ Mold resistant type X gypsum panels has been added to the plan set. This alternate assembly may be use In Lieu of the 2-Hour wall assembly that uses (2) 1” shaft liner.

- Sheet AD1.3a

Revised details with an Alternate (2) 1” or (4) 1/2" M-bloc ekcel Moisture/ Mold resistant type X gypsum panels details added.