Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571.3284

donna.l.george@xcelenergy.com

July 22, 2022

City of Arvada Community Development Department

8101 Ralston Road

Arvada, CO 80001-8101

Attn:  	Carol Ibanez

Re:  	Family Tree Affordable Housing, Case # DA2022-0059

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the conditional use plan for Family Tree Affordable Housing and has a conflict. Please be aware PSCo owns and operates existing natural gas distribution facilities within the Marshall Court right-of-way – will this pipeline be relocated? Gas lines are not allowed beneath structures.

PSCo also has existing overhead electric distribution facilities along the west and south sides of the subject property. The property owner/developer/contractor must complete the application process for any new natural gas or electric service, or modification to existing facilities including relocation and/or removal via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

Additional easements will need to be acquired by separate document for new facilities (i.e. transformers) – be sure to have the Designer contact a Right-of-Way and Permits Agent.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center by dialing 811 for utility locates prior to construction.

Comment response requested.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com